## Sheet1
TagNo | Item Name | Quantity | Project | Plate MATERIAL | Flange MATERIAL | Flange Type | Piece Type | Weld Type | Holder Type | Line_Size | Size in NPS OR DN | Flange Schedule | Pipe Wall Thk | Rating | RJ HOLDER MATERIAL | Drain/Vent | Smooth Finish | Serration | Stellite | Fluid/Service_Name | Service Discription | Service Type | Calculation Standard | Flow Element Type | Flow Rate Unit | Flow Rate Minimum | Flow Rate Maximum | Flow Rate Normal | Flow Rate at FullScale | Tapping | Multi Hole | Pipe Material | Pressure Unit | Temp Unit | Viscosity Unit | Density Unit | Density_Calc_Method | MolecularWeight_Customer | Compressibilty_atFlow_Customer | Compressibilty_atBase_Customer | Gas Name | Base Pressure | Upstream Pressure | Base_Temperature | Operating_Temperature | Vapour_Pressure | Density_at_Base_Customer | Density_at_Flow_Customer | Viscosity_Customer | IsentropicExponenet_Customer | DP Unit | DP at Full Scale | Design Pressure Discription | Design Pressure | Design Temp Discription | Design Temp | Flange Standard | Plate Thk Customer | Spare Plate Required | Stud/Nut | Gasket | JackBolt | Packing_Cost_Manual | Accessories | Accessories_Amt | IBR | IBR_Amt_Manual | Nace | Nace_Type | Nace_Percent | Calibration | CalibrationAmt_Manual | Freight_Required | Freight_Amt_Manual | Special_Requirement | Special_Requirement_Amt | OFA Tap Orientation | FNA Tap Orientation | Venturi Tap Orientation | Plug_Material | Pressure_Tap_Angle | JackBolt_Position | ItemCode_Heading | ItemCode | TestSchedule | FNA Pipe Machining Required | FNA Pipe Machined Cost | FNA Total Assy. Length | FNA Upstream Length | FNA Pipe Length Show to Customer | FNA Pipe Length Customer | Chamfer | ØD1 | Adapter Rating | Flow Nozzle Holding Ring Material | Flow Nozzle Material | Nipple Material | Nipple Size | Nipple Schedule | Nipple Quantity | Venturi Throat Material | Cyllinder Material | Cone Material | Piezometer Ring Material | End Flange Standard | End Flange Type | End Flange Material | End Flange Rating | No of End Flange | Adapter Material | No. of Tapping 1 | Tap Size 1 | No. of Tapping 2 | Tap Size 2 | Companion Flange Required | Tapping Flange | Tapping Flange Size | PitotTube Type | Duct Inside Width | Duct Outside Width | Duct Inside Height | Duct Outside Height | PitotTube Probe Material | Pitot Tube Type | Pitot End Support | Clamping Condition | Pitot Tube End Connection Material | Pitot Tube Sleeve Material
YF-DS-3100
YK-MR-2090
FE-1301
WW-73
MMH20
MMH20
SS316
FEB-2025
EIL-1651
YK-MR-2090
YF-DS-3100
YK-MR-2090
FE-1302
WW-73
MMH20
MMH20
SS316
FEB-2025
EIL-1651
YK-MR-2090
YF-DS-3100
YK-MR-2090
FE-1303
WW-73
MMH20
MMH20
SS316
FEB-2025
EIL-1651
YK-MR-2090
YF-DS-3100
YK-MR-2090
FE-1304
WW-73
MMH20
MMH20
SS316
FEB-2025
EIL-1651
YK-MR-2090
YF-DS-3100
YK-MR-2090
FE-1305
WW-73
MMH20
MMH20
FEB-2025
EIL-1651
YK-MR-2090
YF-DS-3100
YK-MR-2090
FE-1301
WW-73
MMH20
MMH20
SS316
FEB-2025
EIL-1651
YK-MR-2090
YF-DS-3100
YK-MR-2090
FE-1302
WW-73
MMH20
MMH20
SS316
FEB-2025
EIL-1651
YK-MR-2090
YF-DS-3100
YK-MR-2090
FE-1303
WW-73
MMH20
MMH20
SS316
FEB-2025
EIL-1651
YK-MR-2090
YF-DS-3100
YK-MR-2090
FE-1304
WW-73
MMH20
MMH20
SS316
FEB-2025
EIL-1651
YK-MR-2090
YF-DS-3100
YK-MR-2090
FE-1305
WW-73
MMH20
MMH20
FEB-2025
EIL-1651
YK-MR-2090
073-FE-1301
073-FE-1302
073-FE-1303
073-FE-1304
073-FE-1305
073-FE-1301
073-FE-1302
073-FE-1303
073-FE-1304
073-FE-1305
073-FE-1301
073-FE-1302
073-FE-1303
073-FE-1304
073-FE-1305